Ocular safety of soft contact lens disinfection

with a stabilized, complexed Oxychlorite molecule

Dr. med. O. Chr. Geyer, Dipl. Biol. D. Garlipp, BS, MBA B. Gates, Dipl. Chem. A. Arveni

# Abstract

This study shows the ocular safety of a new contact lens care product with an in-the-eye neutralization of the disinfectant. The Oxychlorite molecule generates Chlorine dioxide for disinfection of the lenses.  The system is preservative-free in the eye, because the disinfectant breaks down into salt, water and oxygen in the ocular environment.  Previous in-vitro studies have demonstrated the low cytotoxicity.  This in-vivo study with twenty contact lens wearers demonstrates the innocuous nature of the ingredients by examining the corneal cells and conjunctiva.  The method of examination was slit lamp observation with Lissamine Green staining to detect cell morbidity.

# Introduction

Current methods for disinfecting soft contact lenses are mostly either Peroxide or All-in-One solutions.  Peroxide based, one-step systems are preservative-free with a good disinfection profile.  All-in-One solutions are easier to handle, but have lower disinfection capabilities and leave residual preservatives in the eye.  A new disinfection solution based on a stabilized, complexed Oxychlorite molecule* is preservative-free in the eye, has a strong disinfection power and is as easy-to-use as All-in-One solutions.

The Oxychlorite molecule is a complex of sodium chlorite (negative charged ion) and hydrogen peroxide at 100 ppm.  The molecule is active against microorganisms in the lens case, but becomes unstable on the lens out of solution and is further neutralized in the eye by catalase, peroxidase and dismutase present in the conjunctiva and tear film1.  Since minimum quantities of the molecule come into contact with the eye, it is important to verify that there are no negative effects on ocular tissues, as indicated by the previous in-vitro studies using the standard Madin-Darby canine kidney cell cytotoxicity test2.

# Methods

10 new contact lens wearers and 10 existing lens wearers received an initial external ocular examination (T0).  Follow-up examinations were performed after 7 days (T1) and 30 days (T2).  The existing lens wearers were all previously using Complete® (AMO) solution.  All trial subjects received new contact lenses at the initial examination.  The subjects were instructed to use the test solution on a daily wear basis according to the manufacturer’s indications.  Lissamine Green staining was performed to identify cellular defects of the corneal and conjunctival epithelium.  Staining by Lissamine Green, compared to other methods, facilitates evaluation by the examiner and is better tolerated by the contact lens wearer3.

* Regard® manufactured by Vita Research (Italy)

The trial examinations consisted in 3 principal areas:

- Slit lamp observations of the cornea and conjunctiva

- Visual acuity testing

- Contact lens observation

with the following measurement categories:

All categories were scored grade 0 - 4 except visual acuity and correct lens positioning, which was “yes” or “no”.  All categories were rated (0 - 4) at all examination times T0 - T2.  Participants were totaled into 2 groups: New wearers and Existing wearers.  Additional findings were listed.

# Results

19 out of 20 participants (95%) completed the study.  The lone drop-out was an allergy sufferer with a very bad tear film, unable to continue the study.  He was original enrolled in the study because of the lens wetting characteristics of the test solution.

The difference of the category ratings at the times of examination between T0 and T1 and T2 are summarized below.

Table 1.  Results New wearer group

The New wearer group demonstrates an excellent safety profile.  The two cases of non-deteriorating vascularisation at the beginning of the study were correlated with small deposits on the lens surface.  Scleral injection (2 eyes of one wearer) was caused by an excessive contact lens wearing time (more than 12 hours).  There were no Lissamine Green staining defects observed in this group.

The lens deposit cases were reversible after re-explaining the care instructions.  The lens scratches in one case were obvious material defects.  The lens was replaced with a new one.

The mean value of 0,07 confirms that the solution is safe and very well tolerated.

Table 2.  Results Existing wearer group

The Existing wearer group does not differ significantly from the New wearer group.  Although these subjects were familiar with a basic lens care regimen, they showed worse compliance in lens cleaning than the New wearers.  The Lissamine Green staining (2 cases) is correlated with small lens deposits.

The mean value of 0,06 again demonstrates that the solution is safe and very well tolerated in this group as well.

Due to the fact that there is no difference between the two groups, a combination analysis was performed.

Table 3.  Total participants

In looking at all participants, only certain lens deposits are worth commenting.  The reversible nature of the deposits confirms that these were not related to the test solution, but can caused in handling mistakes.

## Discussion

The Lissamine staining demonstrates that a healthy conjunctival and corneal physiology is not compromised by the test solution.  The extreme low incidence of observed findings in the two groups (mean value: 0,07 and 0,06) confirm a high level of safety and tolerability.  The lens related complications were also extremely low indicating that the solution maintains the condition of the original contact lenses.

The only difference between the New and Existing wearer groups was an apparent reduced level of lens cleaning compliance.  A decline in such compliance is often seen in contact lens wearers over a period of time4 (André, M. 2004).  The study also shows a correlation between lens deposits and corneal stinging and a slight staining of the epithelium.  Therefore lens deposits seem to suggest a biological reaction.  A repetition of the care instructions after some time (publications discuss 3-6 weeks) is necessary to maintain best wearing comfort.

Overall the test solution was recognized as very well tolerated, safe and easy to use.  The unique formula characteristics make this a contact lens care product with interesting new perspectives.

References:

# Endnotes

1 Karageozian, H., Gates, B.: Novel soft contact lens disinfection with sodium chlorite and hydrogen peroxide.  Poster presentation, British Contact Lens Association Meeting, June 2003.

2 Park, J., Cytotoxicity evaluation of contact lens disinfecting solution. Data on File, Vita Research.

3 Berke, A., Färber, R.: Lissamingrün: Verträglichkeit und Färbecharakteristika, die Kontaktlinse 2002; 6:30-32

4 André, M.: Contact Lens Care Products: Problem or Solution? Contact Lens Spectrum 2004 July: 37-40

# Text boxes

Contact lens Examination:

- Lens deposits

- Lens coloration

- Scratches

- Lens wetability

- Correct lens positioning on the eye

Visual acuity

Slit lamp Observations:

- Corneal edema

- Ocular stinging

- Corneal vascularisation

- Scleral injection

- Tarsal anomaly

- Other anomaly

- Lissamine Green staining